## Sheet1
900-J2
| IDF | 積算暖房負荷 | 積算冷房負荷 | 最大暖房負荷 | 最大冷房負荷
NewHASP |  | 1.5934 | 1.7128 | 10.1232 | 3.456
BEST |  | 1.6905 | 1.8256 | 11.3803 | 3.6197
OFFICE |  | 1.8167 | 1.6662 | 9.1232 | 3.4151
EnergyPlus-o | 35, !- Maximum Heating Supply Air Temperature {C} 12, !- Minimum Cooling Supply Air Temperature {C} 0.0156, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.0077, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} LimitCapacity, !- Heating Limit 1000, !- Maximum Heating Air Flow Rate {m3/s} 1000000, !- Maximum Sensible Heating Capacity {W} LimitFlowRateAndCapacity,!- Cooling Limit 1000, !- Maximum Cooling Air Flow Rate {m3/s} 1000000, !- Maximum Total Cooling Capacity {W} Block1:Zone1 Heating Availability Sch, !- Heating Availability Schedule Name Block1:Zone1 Cooling Availability Sch, !- Cooling Availability Schedule Name
EnergyPlus-m | 50, !- Maximum Heating Supply Air Temperature {C} 13, !- Minimum Cooling Supply Air Temperature {C} 0.010, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.010, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} , !- Heating Limit , !- Maximum Heating Air Flow Rate {m3/s} , !- Maximum Sensible Heating Capacity {W} , !- Cooling Limit , !- Maximum Cooling Air Flow Rate {m3/s} , !- Maximum Total Cooling Capacity {W} | 1.0566 | 1.337 | 7.1306 | 2.8468
EnergyPlus-m | 50, !- Maximum Heating Supply Air Temperature {C} 13, !- Minimum Cooling Supply Air Temperature {C} 0.010, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.010, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} LimitCapacity, !- Heating Limit 1000, !- Maximum Heating Air Flow Rate {m3/s} 1000000, !- Maximum Sensible Heating Capacity {W} LimitFlowRateAndCapacity,!- Cooling Limit 1000, !- Maximum Cooling Air Flow Rate {m3/s} 1000000, !- Maximum Total Cooling Capacity {W} | 1.0566 | 1.337 | 7.1306 | 2.8468
EnergyPlus-m | 35, !- Maximum Heating Supply Air Temperature {C} 13, !- Minimum Cooling Supply Air Temperature {C} 0.010, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.010, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} , !- Heating Limit , !- Maximum Heating Air Flow Rate {m3/s} , !- Maximum Sensible Heating Capacity {W} , !- Cooling Limit , !- Maximum Cooling Air Flow Rate {m3/s} , !- Maximum Total Cooling Capacity {W} | 1.0271 | 1.337 | 7.9367 | 2.8468
EnergyPlus-m | 35, !- Maximum Heating Supply Air Temperature {C} 12, !- Minimum Cooling Supply Air Temperature {C} 0.010, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.010, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} , !- Heating Limit , !- Maximum Heating Air Flow Rate {m3/s} , !- Maximum Sensible Heating Capacity {W} , !- Cooling Limit , !- Maximum Cooling Air Flow Rate {m3/s} , !- Maximum Total Cooling Capacity {W} | 1.0271 | 1.337 | 7.9367 | 2.8468
EnergyPlus-m | 35, !- Maximum Heating Supply Air Temperature {C} 12, !- Minimum Cooling Supply Air Temperature {C} 0.0156, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.0077, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} , !- Heating Limit , !- Maximum Heating Air Flow Rate {m3/s} , !- Maximum Sensible Heating Capacity {W} , !- Cooling Limit , !- Maximum Cooling Air Flow Rate {m3/s} , !- Maximum Total Cooling Capacity {W} | 1.027 | 1.337 | 7.9366 | 2.8469
EnergyPlus-m | 35, !- Maximum Heating Supply Air Temperature {C} 12, !- Minimum Cooling Supply Air Temperature {C} 0.0156, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.0077, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} LimitCapacity, !- Heating Limit 1000, !- Maximum Heating Air Flow Rate {m3/s} 1000000, !- Maximum Sensible Heating Capacity {W} LimitFlowRateAndCapacity,!- Cooling Limit 1000, !- Maximum Cooling Air Flow Rate {m3/s} 1000000, !- Maximum Total Cooling Capacity {W} | 1.0273 | 1.337 | 7.9369 | 2.847
EnergyPlus-m | 35, !- Maximum Heating Supply Air Temperature {C} 12, !- Minimum Cooling Supply Air Temperature {C} 0.0156, !- Maximum Heating Supply Air Humidity Ratio {kgWater/kgDryAir} 0.0077, !- Minimum Cooling Supply Air Humidity Ratio {kgWater/kgDryAir} LimitCapacity, !- Heating Limit 1000, !- Maximum Heating Air Flow Rate {m3/s} 1000000, !- Maximum Sensible Heating Capacity {W} LimitFlowRateAndCapacity,!- Cooling Limit 1000, !- Maximum Cooling Air Flow Rate {m3/s} 1000000, !- Maximum Total Cooling Capacity {W} Block1:Zone1 Heating Availability Sch, !- Heating Availability Schedule Name Block1:Zone1 Cooling Availability Sch, !- Cooling Availability Schedule Name | 1.0273 | 1.337 | 7.9369 | 2.847